ENERGIZED ELECTRICAL WORK PERMIT

| Part I: TO BE COMPLETED BY THE REQUESTER: |
| --- |
| Project/FSR Number: |
| 1. Description of circuit/equipment/job location: |
| 2. Description of work to be done: |
| 3. Justification of why the circuit/equipment cannot be de-energized or the work deferred until the next scheduled outage: |
| Requester: | Title: | Date: |

| Part II: TO BE COMPLETED BY THE ELECTRICALLY QUALIFIED PERSONS DOING THE WORK: |  |
| --- | --- |
|  | Check when Complete |
| 1. Detailed job description procedure to be used in performing the above detailed works: |  |
| 2. Description of the Safe Work Practices to be employed: |  |
| 3. Results of the shock risk assessment: |  |
| (a) Voltage to which personnel will be exposed: |  |
| (b) Limited approach boundary: |  |
| (c) Restricted approach boundary: |  |
| (d) List necessary shock, personal, and other protective equipment to safely perform assigned task: |  |
| 4. Results of the Arc Flash risk assessment: |  |
| (a) Available incident energy at the working distance or arc flash PPE category: |  |
| (b) List necessary arc flash personal and other protective equipment to safely perform the assigned task: |  |
| (c) Arc flash boundary: |  |
| 5. Means employed to restrict the access of unqualified person from the work area: |  |
| 6. Evidence of completion of a Job Briefing including discussion of any job-related hazards: |  |
| 7. Do you agree the above described work can be done safely? Yes No ( If no return to requester) |
|  | Electrically Qualified Person (print name) |  | Electrically Qualified Person (signature) |  | Date |  |
|  | Electrically Qualified Person (print name) |  | Electrically Qualified Person (signature) |  | Date |  |

| Part III: APPROVALS TO PERFORM THE WORK WHILE ELECTRICALLY ENERGIZED: |
| --- |
|  | JPL Electrical Construction Manager |  | Date |  | Contractor Electrical Safety Representative |  | Date |  |
|  |  |  |  | OR |  |  |  |  |
|  | JPL Facility Electrical Representative |  | Date |  | JPL Electrical Safety Representative |  | Date |  |

Note: Copy of completed typewritten form shall be posted in a conspicuous location at the job site until work is completed. Original completed form shall be forwarded to JPL System Safety Program Office (125-156) for review and retention.